East Herts Council

Risk Assessment

2016

Assessment of EHC Premises, Hertford Theatre, the Wash, Hertford.

| Assessment carried out by: | Peter Dickinson | Service: | Corporate Risk and Procurement |
| --- | --- | --- | --- |
|  | Ben Cannell |  | Cultural and Community Services |
| Date carried out: | 2016 | Directorate: | Finance and Support Services |
| Date of review: | 2017 |  | Customer and Community Services. |

| What is the workplace / activity / equipment / conditions (delete as appropriate) being assessed: | How was the assessment done? | Is the assessment ‘generic’ or specific to the situation? |
| --- | --- | --- |
| Assessment of EHC Hertford Theatre and grounds. | Visual inspection of site facilities and layouts. Consultation with Facilities and Property and EHC employees. | Corporate Site Specific |

| What are the hazards? a hazard is anything that may cause harm, such as chemicals, electricity, working from ladders, an open drawer etc. | Who could be harmed and how? | What is already being done to control the risks? | What further action is recommended to reduce the risks further? E.g. Training, provision of additional equipment etc | Person(s) Responsible for talking action? | Date action taken |
| --- | --- | --- | --- | --- | --- |
| Defective or damaged INTERNAL FLOOR SURFACES Torn or damaged carpets, carpet tiles. Damaged or defective non slip surfaces, damage to special flooring e.g. Dance / Performance Room. Obstructed HALLWAYS AND CORRIDORS Slips, trips and falls, cuts and bruises Obstructed fire safety routes, Breaches of Fire Safety Reform Order Poorly lit GRADED LEVELS / SLOPES | All employees, volunteer, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Slips and trips from spillages, dust and dirt, wet weather run off. flooring surfaces e.g. loose, threadbare Loose, defective or damaged anti slip strip Loose, damaged or defective handrails Spillages from hot and cold liquids Poor cleaning Obstructions on stairs Items stored on staircase | Routine, corrective or preventative maintenance. In-house cleaning undertaken daily Theatre staff undertake remedial action where appropriate and are responsible for ensuring that all routes of escape are clear and free from obstruction. Fire Risk Assessment completed by Contractor 15.06.2015 – date of next review 15.06.2017 Placement of yellow warning signs/a-frames whenever cleaning takes place and in the event of spills Non slip flooring surfaces Faults and damages are reported to Facilities and Property, | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management | As required |

| Defective / damaged WALLS, PARTITIONS, SCREENS AND CEILINGS Broken / cracked WINDOWS and defective / damaged BLINDS, CURTAINS Faulty / damaged MANUAL INTERNAL DOORS | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Contact injuries, head injuries, cuts and bruises Structural failure, defective coverings, loose tiles, plaster etc. Unstable partitions and screens, broken supports Loose, missing, defective or damaged ceiling tiles Broken, damaged or defective windows, glass fragments Glare, reflection from broken, defective or damaged blinds Contact injuries, defective handles, hinges and frames, cuts from sharp edges, splinters etc. Damaged, defective handles, hinges and frames. Height of frames | Facilities Management and Theatre Director and Technical Manager undertake premises inspections Facilities and Property Management responsible for floor surfaces, walls, windows, doors etc Recording Process for Faults /Damage etc. Centralised reporting system. Diary in the office. All staff aware. Tensor Barriers/Wet Floor Signs to be used. Isolate hazards and contact Facilities and Property Management. Contractors appointed to make good damaged and defective tiles etc Contract cleaning for window cleaning in place. Blinds are of a high standard and design. Make good, replace or repair damaged or defective window coverings where appropriate. Consider the use of warning signs to advise all users of risk of harm in the event of any damage etc. | Facilities Management and Director of Hertford Theatre now carry out a programme of premises inspections. | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management | As required |
| --- | --- | --- | --- | --- | --- |

| Failure and non compliance with all aspects of Fire Safety Obstructed FIRE EXITS AND ESCAPE ROUTES / FIRE DOORS Panic, minor to fatal injuries resulting from burns and crush injuries as a result of locked, obstructed fire exits and escape routes Failure to undertake and comply with FIRE RISK ASSESSMENT / FIRE SAFETY EQUIPMENT AND TESTING Failure to undertake FIRE EVACUATION DRILL Injuries sustained as a result of fire, smoke inhalation, and panic. Failure to undertake fire evacuation drill Failure of FIRE SAFETY PROCEDURES | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Injuries sustained as a result of fire, smoke inhalation, and panic, burns | Fire Evacuation Plan and Marshals in place Training has been undertaken for fire marshals. Fire safety procedures in place Fire safety signs and instructions on display Contract for the collection of blue recycling and confidential bin collection in place. Cleaners remove full recycling bins ready for collection Waste disposal procedures in place, bins empties at close of building, recycling contained in blue disposal bins and collected and emptied under contract. Facilities and Property Management responsible for commissioning Fire Risk Assessment and implementing fire safety maintenance regimes for Hertford Theatre. Hertford Theatre undertake actuation point testing on a weekly basis Test Records Kept Fire Evacuation drills carried out every 6 months. | Maintain existing arrangements | Hertford Theatre for day to day to day operations East Herts Council Facilities and Property Management team responsible for commissioning all building fire risk assessments and fire safety maintenance regimes | As required |
| --- | --- | --- | --- | --- | --- |

| Accidents or incidents in the RIVER ROOM / RIVER ROOM COURTYARD GALLERY COURTYARD Climbing on fence railing / chairs and tables WATER SAFETY Drowning, near drowning GALLERY / CAFÉ AREA Unattended liquid and food spillages Broken / damaged furniture, fixtures and fittings | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Slips, trips and falls, cuts and bruises Obstructed fire safety routes, Breaches of Fire Safety Order Defective flooring surfaces e.g. loose, threadbare, torn or damaged carpets, carpet tiles. Damaged or defective non slip surfaces Defective or damaged surfaces and coverings. Loose, defective or damaged anti slip strip Loose, damaged or defective handrails Defective, damaged, faulty furniture, fixtures and fittings Spillages from hot and cold liquids Poor cleaning High spirited behaviour, curiosity / inquisitiveness , unsupervised activity | Cleaning provision in place Fire safety information displayed Room inspected. Safety Information The Courtyard accessed from the River Room is designated as a primary fire escape route; the courtyard overlooks the river and is fenced for safety. Please ensure that children and young people are supervised at all times. Organisers of events or activities are responsible for the safety of young people and children in their care. Please note that the staff at the Theatre cannot provide child care provision. Buoyancy aid installed. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management | As required |
| --- | --- | --- | --- | --- | --- |

| DANCE / PERFORMANCE STUDIO AND CHANGING ROOMS Defective flooring surfaces e.g. loose, threadbare, torn or damaged carpets, carpet tiles. Damaged or defective non slip surfaces Defective or damaged surfaces and coverings. Loose, defective or damaged anti slip strip Loose, damaged or defective handrails Spillages from hot and cold liquids Poor cleaning Breaches of Fire Safety Order / Obstructed fire safety routes, | Employees, patrons, performers, instructors, participants Slips, trips and falls, cuts and bruises | Cleaning provision in place Fire safety information displayed Room inspected. Contractors appointed to make good damaged and defective tiles etc | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| --- | --- | --- | --- | --- | --- |

| MAIN PERFORMANCE AUDITORIUM / CINEMA Slips, trips and falls, cuts and bruises Failure or defective lighting, electrical burns, shock STAGE Falls from height Failure of safety iron e.g. pulleys, cables, operating mechanism Failure of lift platform mechanism RETRACTABLE SEATING STRUCTURE Manual handling – removal of side panels prior to retraction of seating. Modular seating units – lifting and removing modular seating to create additional space. | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Obstructed fire safety routes, Breaches of Fire Safety Order Defective flooring surfaces e.g. loose, threadbare, torn or damaged carpets, carpet tiles. Damaged or defective non slip surfaces Defective or damaged surfaces and coverings. Loose, defective or damaged anti slip strip Loose, damaged or defective handrails Spillages from hot and cold liquids Poor cleaning Failure / collapse of rake seating system | Cleaning provision in place Fire safety information displayed Tensor barriers restricting access to auditorium when not in use No admittance to auditorium when not in use Auditorium inspected Separate risk assessment for operation of retractable seating undertaken. Written procedure for the removal of modular seating Safety iron lowered when stage not in use. Operation of safety iron by authorised trained staff only. Authorised / supervised access only to stage area and to all backstage areas. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management For repairs and maintenance to rake seating contact supplier |  |
| --- | --- | --- | --- | --- | --- |

| BACKSTAGE AREA DRESSING ROOMS 1, 2, 3, 4 CREW ROOM GREEN ROOM UNDERSTAGE AREA Failure or defect of: Props and equipment Electrical installations and equipment Lighting rigs Sound equipment | All employees, guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors authorised to access these areas or accompanied. Slips, trips, falls Head, neck and back injuries | Fire safety information displayed Authorised access only – out of bounds to members of the public, guests and visitors unless on supervised tour of facility Inspection regimes in place to test all equipment All electrical equipment routinely PAT tested. Performing groups are responsible for chaperone arrangements for children and young people | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management | As required |
| --- | --- | --- | --- | --- | --- |

| CONTROL ROOM Electrical injuries Height hazards | Control Room Technical Personnel / Lighting and Audio Technicians. Fractures, sprains, strains, broken bones Slips, trips and falls Head, neck and back injuries | Access restricted to authorised personnel. No unauthorised or unsupervised access permitted. Access via lockable door only | Roof escape to be looked at. | Theatre Management to raise issue with Facilities and Property Team |  |
| --- | --- | --- | --- | --- | --- |

| Physical injury, mental distress arising from: Risk of harm from violence and aggression Damaged or defective fixtures and fittings | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Cuts, bruises, trauma, stress. | CCTV in operation providing coverage of reception area and meeting rooms Employee Assistance Programme in place to support and assist victims of violence and aggression. Incident reporting procedures in place. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| --- | --- | --- | --- | --- | --- |
| SANITARY FACILITIES Illness arising from dirty / poorly maintained or defective sanitary facilities Poor cleaning standards | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Sickness, diarreah, stomach disorders | Provision of M/F/D staff toilets available All employees are expected to use the facilities considerately and report any misuse or failure of cleansing to Theatre Management Faults, defects and failures to be reported to Facilities and Property Management Access to other facilities maintained by the Landlord Contract cleaning in place. Contract for cleaning and replacing sanitary units in place. Contact for laundry services of hand towels and kitchen towels in place. Cleaners oversee the replacement of toilet rolls and hand towels when required. Soap dispensers provided and replenished by Caretakers as required. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |

| FURNITURE PROVISION Suitability of chairs, seating and tables Risk of harm from damaged or defective furniture and chairs Damaged or defective fixtures and fittings Overcrowding in main foyer, gallery / café seating area | All employees, guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Cuts, bruises, slips, trips and falls. | Maintain existing arrangements Prepare seating plan that shows normal positions for comfort seating and for seating in gallery / café area, consider the following factors: Type of event being held, e.g. exhibition, tour, performance Expected numbers of guests attending Is seating required and can a seating area be set aside Remove, replace or repair damaged furniture and chairs. Report failure or damage to Facilities and Property Management Incident and Near Miss procedure in place to report any incidents. During high volume use consideration given to placement and arrangement in order to maintain escape routes Check quality specification of furniture and seating. | Maintain existing arrangements | Hertford Theatre Staff on day to day operations, during performances or exhibitions |  |
| --- | --- | --- | --- | --- | --- |

| KITCHEN AREA. Liquid and food spillages Out of date contaminated food stuffs being left in fridges Unauthorised use and access. | All employees, contactors, authorised persons only. Slips and falls Food poisoning | Off limits to unauthorised persons Contract for laundry services of hand towels and kitchen towels in place. Contract cleaning staff / Caretakers oversee the replacement of toilet rolls and hand towels when required. Soap dispensers provided and replenished by Caretakers as required. Routine inspection of kitchen to monitor cleanliness. EHO issued Safer Food Standard package – which are in place. Report repairs and faults to Facilities and Property Management | All employees are expected to use the facilities considerately and report any misuse or failure of cleansing to Theatre Management Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| --- | --- | --- | --- | --- | --- |
| All employees, guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors. CAR PARK- SHARED PEDESTRIAN / VEHICULAR ACCESS. Contact with vehicles as a result of mixed use access Failure or defective surfaces Weather conditions Changes in ground level Failure, defect or damage to barriers | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Bruising, fractures, sprains, Head, back and neck injuries | Contractors undertake snow clearance in assigned areas. Grounds Maintenance contractors clear leaves and excess foliage | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management Affinity Security responsible for barrier maintenance |  |

| PLANT ROOM Access prohibited to unauthorised people | Plant maintenance contractors, Caretakers, Property and Facilities Management Team Electrocution, burns, death | Authorised access only permitted. Facilities and Property Responsible for the management of repairs and maintenance of plant. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| --- | --- | --- | --- | --- | --- |
| DOMESTIC SERVICES MAINS AND TANKED WATER SUPPLY Contaminated/untreated water supplies AIR CONDITIOINING Legionella, respiratory infection arising from unclean, poorly maintained and un serviced air conditioning units . HEATING SUPPLY Total failure of supply may result under extreme circumstances in Hypothermia, discomfort under normal conditions, people may experience discomfort in joints. | All employees, guests, visitors and contractors, performers and exhibitors Diarrhoea and sickness Maintenance and service contract in place. Portable heating appliances may be deployed if required provided equipment has been PAT tested. Management action as required | Annual chlorination of the tanked cold water supply undertaken by contractor under Facilities and Property Management instruction. Maintenance and service contract in place. Clean vents as and when required. Facilities and Property Management are responsible for the arrangements for the supply of mains water and for all legionella testing regimes. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |

| ELECTRICAL SUPPLY AND SERVICES AND LIGHTING Loss of electrical supply | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff may result in people trapped in lifts, sudden loss may result in people tripping or falling. | Back up generator and emergency lights will activate to provide sufficient light during power outage. | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| --- | --- | --- | --- | --- | --- |
| PUBLIC AND STAFF ENTRANCES AND BUILDING PERIMETER AND CURTILAGE Damaged, missing or defective surfaces or from snow and ice Obstructed pathways | All employees, patrons,. guests, visitors, contractors, disabled persons, expectant mothers, young people and children, performers, exhibitors, Café Staff Caretakers clear designated areas of snow and ice Grounds maintenance contractors clear areas of excess foliage and snow and ice Slips, trips and falls Contact with vehicles | Explore options for placing bollards along pathway to prevent vehicles parking on path. Consider white lining along staff entrance Routine inspection of perimeter specifically along public paths and entrances | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| Maintenance and repair Contractors, property and Facilities Management Team ROOF ACCESS Falls from height | Authorised Theatre Staff, Facilities and Property Services Staff, Authorised EHC Staff accompanied, contractors, maintenance and service engineers. Responsibility of Facilities and Property Management | Access restricted to authorised persons only. No access permitted to guests, patrons and visitors. All access requirements are accompanied Risk Assessment required prior to access. . | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| Site security and access ALL AREAS Theft of personal property, assets |  | Access to the building is managed and controlled by Hertford Theatre Staff. Additional security provided by CCTV and alarm system | Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |
| All employees, contactors, authorised persons only. THEATRE OFFICES. Slips, trips and falls as a result of waste, poor storage and housekeeping arrangements Unauthorised use and access. Damaged or defective furniture and equipment | Employees, contractors, cleaners, guests and visitors Slips, trips and falls Head, neck and back injuries Sprains and strains Manual handling injuries | Off limits to unauthorised persons Contract cleaning in place. Maintain housekeeping and ensure all waste is correctly recycled and disposed of | All employees are expected to use the facilities considerately and report any misuse or failure of cleansing to Theatre Management Report repairs and faults to Property and Facilities Maintain existing arrangements | Hertford Theatre for day to day to day operations For repairs and maintenance Property and Facilities Management |  |

Method Statement

Method Statement How was the risk assessment done? Followed the guidance in Five steps to risk assessment To identify the hazards, the following process was undertaken. looked at HSE’s office health and safety web pages, including the Officewise leaflet, to learn where hazards can occur, and at the disability and risk assessment web pages; Carried out site inspection to identify possible/potential risks, taking into consideration what was learnt from HSE’s guidance; Sought input from Facilities and Property Management team and Hertford Theatre Team to learn from their knowledge and experience of areas and activities, to ensure the assessment was relevant and the content factual. Checked accident record history, to understand what has previously resulted in incidents. The issues were written down who could be harmed by the hazards and how. For each hazard, details of exiting controls, if any, were in place to manage these hazards. Theses were compared against controls to the good practice guidance provided in HSE’s office health and safety web pages. Where existing controls were not considered good enough, recommendations for further controls were identified that may control the risk. Putting the risk assessment into practice, the Councils Safety Committee review all risk assessments in consultation with trade union colleagues who jointly decided and recorded who was responsible for implementing the further actions and when they should be done. When each action was completed, it was ticked off and the date recorded. The risk assessment will then be posted on the intranet site all staff to see. Risk assessments are issued to Heads of Service for distribution to Line Managers for discussion with individual teams. The Management Team at Hertford Theatre are responsible for reporting the need for repairs and maintenance at the Theatre to the Facilities and Property Management Team which includes: Repairs and maintenance to all East Herts Council owned and managed external areas Repairs and maintenance to all internal areas of the Theatre Repairs and maintenance to all sanitary facilities and services, plant and the provision of water supplies and electrical services. Repairs and maintenance to all structural features, fixtures and fittings. There are no explosive materials or cylinder gasses on site and the overall assessment is considered to be a low risk / hazard site. The risk assessment shall be reviewed annually or straightaway if any major changes in the workplace happen.

SITE Overview

The Councils Hertford Theatre is located in the town centre of Hertford. Shared pedestrian / vehicle route indicated Fire Assembly Areas are indicated on the plan, main exits are indicated